## Update Tracking
Update Date | Version | Comments
6693056 | 3 | Added Master Bath Hot Tub (theoretically wired to 3 circuits for pump, heater, and blower) However, have not tied to its associated circuits .. And it doesn't matter much since it is no longer in use
2024-08-06 | 2 | Converted Named Ranges to use of Tables (for no good reason) Also cleaned up a few things and added power summary by breaker box
2024-01-09 | 1 | Replaced some hardcoded tables with some base tables and then references to those tables (to maintain a single source for each data tab)
2024-04-29 | 0 | Original Creation
2025-02-02 | 4 | Adding SE light switches in bonus room. Fixing for proper separation with Ceiling Fan and Ceiling Lights
2026-03-18 | 5 | INCOMPLETE NOTES: Waiting for electrician to complete work Fixed room quite a few things, and also noted some power values under Device Wattages (also may want to add a multiplier for some Electrical items that have things like multiple lights on one circuit. Not sure? Added Garage outlets and Bonus room ceiling lights -- Also added more Heat pumps (but they need verified power info)

## Breaker Power Loads
Breaker Box | Breaker | sum Power draw | Attached Electrical Items | Breaker Box | Breaker | sum Power draw | Attached Electrical Items
Main | M10L | 2100 | F-Ki-O03, F-Ki-O02, F-Ki-O01, F-D-O03 | Utility Subpanel | U10B | 0 | B-UR-O02, B-UR-O01, B-Ab-O09
Main | M11L | 0 | F-H-O04, F-H-O03, F-H-O02 | Utility Subpanel | U10T | 2307 | B-UC-O02, B-UC-O01, B-UC-L01, B-S-O10, B-S-O09, B-Ab-O08, B-Ab-O07, B-Ab-O06, B-Ab-O05, B-Ab-O04, B-Ab-O03, B-Ab-O02, B-Ab-L01
Main | M11R | 390 | T-BR-O07, T-BR-O06, T-BR-O05, T-BR-O04, T-BR-O03, T-BR-O02, T-BR-L01, T-BR-O01 | Utility Subpanel | U12B | 3110 | T-MB-O03, T-MB-O02, T-MB-O01, B-S-O02, B-S-O01, B-S-L01, B-Ab-O01, B-Ab-B-O01, B-Ab-B-LF01, B-Ab-B-L01
Main | M12L |  | T-La-O02 | Utility Subpanel | U12T | 150 | F-Ki-O06, F-Ki-O05, F-Ki-O04, F-Ki-L08, B-Ab-L02
Main | M13L | 1620 | F-Ki-O11, F-Ki-O10, F-Ki-O09 | Utility Subpanel | U2+4 | 4800 | B-Ab-ST
Main | M13R | 0 | F-PR-O03, F-PR-O02, F-PR-O01 | Utility Subpanel | U6B | 0 | B-UR-O01, B-A-O02
Main | M14L | 180 | T-Ha-O01, T-Ha-L01, T-Mx-O05, T-Mx-O04, T-Mx-O03, T-Mx-O02, T-Mx-O01, T-Mx-L01, T-Th-L01 | Utility Subpanel | U6T | 1500 | B-Ab-O10, B-Ab-MW
Main | M14R | 610 | T-BR-CF01, T-BR-LS01, T-BR-LS02, T-BR-L01, T-La-L01, T-Th-O05, T-Th-O04, T-Th-O03, T-Th-O02, T-Th-O01, F-Ki-LS03, F-Ki-L03 | Utility Subpanel | U8B | 30 | B-Pa-L02, B-Ab-O12
Main | M15L | 1330 | F-Ki-DW, B-UR-L01, B-Ab-F01 | Utility Subpanel | U8T | 0 | B-Ab-O11
Main | M17 | 2938 | F-Po-O01, F-Po-L01, F-LR-O06, F-LR-O05, F-LR-O04, F-LR-O03, F-LR-O02, F-LR-L03, F-LR-L02, F-LR-L01, F-Ki-O08, F-Ki-L07, F-Ki-L05, F-Ki-L02, F-H-O01, F-H-L05, F-H-L04, F-GB-O02, F-GB-O01, F-GB-L01, F-D-O02, F-D-O01, F-D-L03, F-D-L02, F-D-L01, B-UR-L01, B-UC-O01, B-S-O08, B-S-O07, B-S-O06, B-S-O05, B-S-O03, B-Pa-O02, B-Pa-O02, B-Pa-O01, B-Pa-L03, B-Pa-L01, B-A-O01 |  |  |  | T-BR-HP04, B-UR-HP02, B-UC-HP01
Main | M19L | 0 | F-Ki-MW
Main | M19R | 2221 | T-Ba-O01, T-Ba-L01, T-GB-O02, T-GB-O01, T-GB-L10, T-Ha-L02, T-Ma-O07, T-Ma-O06, T-Ma-O05, T-Ma-O04, T-Ma-O03, T-Ma-O02, T-Ma-O01, T-Ma-L03, T-Ma-L02, T-Ma-L01, T-Ma-F01, T-MB-LF01, T-MB-L02, T-MB-L02, T-MB-L01, T-Wi-O06, T-Wi-O05, T-Wi-O04, T-Wi-O03, T-Wi-O02, T-Wi-O01, T-Wi-L02, T-Wi-L01
Main | M2+4 | 9800 | F-Ki-ST, F-Ki-OV
Main | M20 | 990 | F-PR-L02, F-PR-L01, F-LR-O09, F-LR-O08, F-LR-O07, F-LR-O01, F-Ki-L01, F-Ga-O02, F-Ga-O01, F-Ga-L01, F-Ga-O02, F-Ga-O03, F-Ga-O04
Main | M5+7 |  | T-La-O01
Main | M9L | 1050 | F-Ki-O07, F-Ki-L06, F-Ki-L04
TOTALS | 16 | 23229 |  | TOTALS | 9 | 11897

## Electrical Items
Floor | Floor name | Room | Room name | Item | ItemFull | Item name | Breaker | Breaker Box | Verified | Power draw | Attached Device 1 | Power 1 | Attached Device 2 | Power 2 | Attached Device 3 | Power 3 | Attached Device 4 | Power 4 | Attached Device 5 | Power 5 | Attached Device 6 | Power 6 | Attached Device 7 | Power 7
T | Top floor | Ba | Balcony | O01 | T-Ba-O01 | Outlet left | M19R | Main | ✔ | 0
T | Top floor | Ba | Balcony | L01 | T-Ba-L01 | Light left | M19R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | BR | Bonus Room | F01 | T-BR-F01 | Fan ceiling | ? | ? |  | #N/A | It's on Light circuit in room and currently connected to switch, which needs to be undone | #N/A
T | Top floor | BR | Bonus Room | O07 | T-BR-O07 | Outlet right back | M11R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | BR | Bonus Room | O06 | T-BR-O06 | Outlet back right | M11R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | BR | Bonus Room | O05 | T-BR-O05 | Outlet back left | M11R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | BR | Bonus Room | O04 | T-BR-O04 | Outlet left back | M11R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | BR | Bonus Room | O03 | T-BR-O03 | Outlet left front | M11R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | BR | Bonus Room | O02 | T-BR-O02 | Outlet bed center | M11R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | BR | Bonus Room | L01 | T-BR-L01 | LED Ceiling Lights | M11R | Main | ✔ | 180 | LED Lamp | 180
T | Top floor | BR | Bonus Room | CF01 | T-BR-CF01 | Ceiling Fan | M14R | Main | ✔ | 80 | Ceiling Fan | 80
T | Top floor | BR | Bonus Room | LS01 | T-BR-LS01 | 3W Light Switch (F-Ki-LS03) - near stairwall door | M14R | Main | ✔ | 0 | Light Switch | 0
T | Top floor | BR | Bonus Room | LS02 | T-BR-LS02 | Light Switch for Ceiling Lights | M14R | Main | ✔ | 0 | Light Switch | 0
T | Top floor | BR | Bonus Room | HP04 | T-BR-HP04 | Mini Split |  |  | ✔ | 3600 | Heat Pump Mini Split | 3600
T | Top floor | BR | Bonus Room | O01 | T-BR-O01 | Outlet right front | M11R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | La | Laundry | O02 | T-La-O02 | Outlet Washer | M12L | Main | ✔ | #N/A | Washer | #N/A
T | Top floor | Ha | Hallway | O01 | T-Ha-O01 | Outlet front middle | M14L | Main | ✔ | 0
T | Top floor | Ha | Hallway | L01 | T-Ha-L01 | Lights track | M14L | Main | ✔ | 90 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30
T | Top floor | Mx | Max's bedroom | O05 | T-Mx-O05 | Outlet right | M14L | Main | ✔ | 0
T | Top floor | Mx | Max's bedroom | O04 | T-Mx-O04 | Outlet front | M14L | Main | ✔ | 0
T | Top floor | Mx | Max's bedroom | O03 | T-Mx-O03 | Outlet left front | M14L | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | Mx | Max's bedroom | O02 | T-Mx-O02 | Outlet left back | M14L | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | Mx | Max's bedroom | O01 | T-Mx-O01 | Outlet back | M14L | Main | ✔ | 0
T | Top floor | Mx | Max's bedroom | L01 | T-Mx-L01 | Light over bed | M14L | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | BR | Bonus Room | L01 | T-BR-L01 | Light ceiling | M14R | Main | ✔ | #N/A | Can't test | #N/A
T | Top floor | La | Laundry | L01 | T-La-L01 | Light ceiling | M14R | Main | ✔ | 60 | LED Lamp | 30 | LED Lamp | 30
T | Top floor | Th | Thurston's bedroom | O05 | T-Th-O05 | Outlet right front | M14R | Main | ✔ | 150 | LED Lamp | 30 | Computer Small | 120
T | Top floor | Th | Thurston's bedroom | O04 | T-Th-O04 | Outlet right back | M14R | Main | ✔ | 0
T | Top floor | Th | Thurston's bedroom | O03 | T-Th-O03 | Outlet back | M14R | Main | ✔ | 0
T | Top floor | Th | Thurston's bedroom | O02 | T-Th-O02 | Outlet under computer desk | M14R | Main | ✔ | 290 | LED Lamp | 30 | Computer Large | 240 | Ipad | 20
T | Top floor | Th | Thurston's bedroom | O01 | T-Th-O01 | Outlet front left | M14R | Main | ✔ | 0
T | Top floor | Th | Thurston's bedroom | L01 | T-Th-L01 | Light ceiling | M14L | Main | ✔ | 0
T | Top floor | GB | Guest Bathroom | O02 | T-GB-O02 | Outlet under sink left | M19R | Main | ✔ | 1000 | Toto Toilet Seat | 1000
T | Top floor | GB | Guest Bathroom | O01 | T-GB-O01 | Outlet by sink left | M19R | Main | ✔ | 0
T | Top floor | GB | Guest Bathroom | L10 | T-GB-L10 | Light above sink | M19R | Main | ✔ | 60 | LED Lamp | 30 | LED Lamp | 30
T | Top floor | Ha | Hallway | L02 | T-Ha-L02 | Lights in stairwell down | M19R | Main | ✔ | 0
T | Top floor | Ma | Master Bedroom | O07 | T-Ma-O07 | Outlet right back | M19R | Main | ✔ | 0
T | Top floor | Ma | Master Bedroom | O06 | T-Ma-O06 | Outlet TV | M19R | Main | ✔ | 177 | LED TV 42" | 57 | Computer Small | 120
T | Top floor | Ma | Master Bedroom | O05 | T-Ma-O05 | Outlet bed left | M19R | Main | ✔ | 20 | Phone | 20
T | Top floor | Ma | Master Bedroom | O04 | T-Ma-O04 | Outlet bed right | M19R | Main | ✔ | 20 | Ipad | 20
T | Top floor | Ma | Master Bedroom | O03 | T-Ma-O03 | Outlet closet left | M19R | Main | ✔ | 0
T | Top floor | Ma | Master Bedroom | O02 | T-Ma-O02 | Outlet closet front | M19R | Main | ✔ | 0
T | Top floor | Ma | Master Bedroom | O01 | T-Ma-O01 | Outlet right front | M19R | Main | ✔ | 0
T | Top floor | Ma | Master Bedroom | L03 | T-Ma-L03 | Lights fireplace | M19R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | Ma | Master Bedroom | L02 | T-Ma-L02 | Lights closet | M19R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | Ma | Master Bedroom | L01 | T-Ma-L01 | Lights over bed | M19R | Main | ✔ | 60 | LED Lamp | 30 | LED Lamp | 30
T | Top floor | Ma | Master Bedroom | F01 | T-Ma-F01 | Fan over bed | M19R | Main | ✔ | 70 | Bathroom Light/Fan | 70
T | Top floor | MB | Master Bathroom | LF01 | T-MB-LF01 | Light/fan over toilet | M19R | Main | ✔ | 70 | Bathroom Light/Fan | 70
T | Top floor | MB | Master Bathroom | L02 | T-MB-L02 | Lights over hottub | M19R | Main | ✔ | 60 | LED Lamp | 30 | LED Lamp | 30
T | Top floor | MB | Master Bathroom | L02 | T-MB-L02 | Light in shower | M19R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | MB | Master Bathroom | L01 | T-MB-L01 | Lights over sink | M19R | Main | ✔ | 60 | LED Lamp | 30 | LED Lamp | 30
T | Top floor | Wi | William's bedroom | O06 | T-Wi-O06 | Outlet right back | M19R | Main | ✔ | 0
T | Top floor | Wi | William's bedroom | O05 | T-Wi-O05 | Outlet right front | M19R | Main | ✔ | 0
T | Top floor | Wi | William's bedroom | O04 | T-Wi-O04 | Outlet front | M19R | Main | ✔ | 0
T | Top floor | Wi | William's bedroom | O03 | T-Wi-O03 | Outlet left front | M19R | Main | ✔ | 297 | Computer Large | 240 | LED TV 42" | 57
T | Top floor | Wi | William's bedroom | O02 | T-Wi-O02 | Outlet left back | M19R | Main | ✔ | 177 | Computer Small | 120 | LED TV 42" | 57
T | Top floor | Wi | William's bedroom | O01 | T-Wi-O01 | Outlet right of door | M19R | Main | ✔ | 0
T | Top floor | Wi | William's bedroom | L02 | T-Wi-L02 | Light closet | M19R | Main | ✔ | 30 | LED Lamp | 30
T | Top floor | Wi | William's bedroom | L01 | T-Wi-L01 | Light center | M19R | Main | ✔ | 0
T | Top floor | La | Laundry | O01 | T-La-O01 | Outlet 240 Dryer | M5+7 | Main | ✔ | #N/A | Dryer | #N/A
T | Top floor | MB | Master Bathroom | O03 | T-MB-O03 | Outlet toilet | U12B | Utility Subpanel | ✔ | 1000 | Toto Toilet Seat | 1000
T | Top floor | MB | Master Bathroom | O02 | T-MB-O02 | Outlet back right | U12B | Utility Subpanel | ✔ | 0
T | Top floor | MB | Master Bathroom | O01 | T-MB-O01 | Outlet back left | U12B | Utility Subpanel | ✔ | 0
F | First floor | PR | Piano room | O03 | F-PR-O03 | Outlet back | M13R | Main | ✔ | 0
F | First floor | PR | Piano room | O02 | F-PR-O02 | Outlet right | M13R | Main | ✔ | 0
F | First floor | PR | Piano room | O01 | F-PR-O01 | Outlet front | M13R | Main | ✔ | 0
F | First floor | PR | Piano room | L02 | F-PR-L02 | Lights right most | M20 | Main | ✔ | 60 | LED Lamp | 30 | LED Lamp | 30
F | First floor | PR | Piano room | L01 | F-PR-L01 | Lights left most | M20 | Main | ✔ | 60 | LED Lamp | 30 | LED Lamp | 30
F | First floor | Po | Porch | O01 | F-Po-O01 | Porch outlet | M17 | Main | ✔ | 0
F | First floor | Po | Porch | L01 | F-Po-L01 | Porch light | M17 | Main | ✔ | 30 | LED Lamp | 30
F | First floor | LR | Living Room | O09 | F-LR-O09 | Outlet front middle | M20 | Main | ✔ | 0
F | First floor | LR | Living Room | O08 | F-LR-O08 | Outlet left front most | M20 | Main | ✔ | 0
F | First floor | LR | Living Room | O07 | F-LR-O07 | Outlet left front of divider | M20 | Main | ✔ | 0
F | First floor | LR | Living Room | O06 | F-LR-O06 | Outlet left front of fireplace | M17 | Main | ✔ | 0
F | First floor | LR | Living Room | O05 | F-LR-O05 | Outlet left back | M17 | Main | ✔ | 288 | LED TV 60" | 88 | Stereo | 200
F | First floor | LR | Living Room | O04 | F-LR-O04 | Outlet back left | M17 | Main | ✔ | 0
F | First floor | LR | Living Room | O03 | F-LR-O03 | Outlet back right | M17 | Main | ✔ | 0
F | First floor | LR | Living Room | O02 | F-LR-O02 | Outlet right back | M17 | Main | ✔ | 0
F | First floor | LR | Living Room | O01 | F-LR-O01 | Outlet right Front | M20 | Main | ✔ | 0
F | First floor | LR | Living Room | L03 | F-LR-L03 | Dining track lighting | M17 | Main | ✔ | 60 | LED Track Dinning | 60
F | First floor | LR | Living Room | L02 | F-LR-L02 | Track lighting | M17 | Main | ✔ | 180 | LED Track Grid | 180
F | First floor | LR | Living Room | L01 | F-LR-L01 | Ceiling Led Grid | M17 | Main | ✔ | 400 | LED Grid | 400
F | First floor | Ki | Kitchen | ST | F-Ki-ST | Stovetop | M2+4 | Main | ✔ | 5000 | Stovetop (conductive) | 5000
F | First floor | Ki | Kitchen | OV | F-Ki-OV | Oven | M2+4 | Main | ✔ | 4800 | Oven | 4800
F | First floor | Ki | Kitchen | O11 | F-Ki-O11 | Outlet stove left | M13L | Main | ✔ | 120 | Computer Small | 120
F | First floor | Ki | Kitchen | O10 | F-Ki-O10 | Outlet stove middle | M13L | Main | ✔ | 1500 | Toaster Oven | 1500
F | First floor | Ki | Kitchen | O09 | F-Ki-O09 | Outlet stove right | M13L | Main | ✔ | 0
F | First floor | Ki | Kitchen | O08 | F-Ki-O08 | Outlet pantry top | M17 | Main | ✔ | 0
F | First floor | Ki | Kitchen | O07 | F-Ki-O07 | Outlet fridge | M9L | Main | ✔ | 960 | Fridge Large | 960
F | First floor | Ki | Kitchen | O06 | F-Ki-O06 | Outlet island right | U12T | Utility Subpanel | ✔ | 0
F | First floor | Ki | Kitchen | O05 | F-Ki-O05 | Outlet island middle | U12T | Utility Subpanel | ✔ | 0
F | First floor | Ki | Kitchen | O04 | F-Ki-O04 | Outlet island left | U12T | Utility Subpanel | ✔ | 0
F | First floor | Ki | Kitchen | O03 | F-Ki-O03 | Outlet right | M10L | Main | ✔ | 0
F | First floor | Ki | Kitchen | O02 | F-Ki-O02 | Outlet back left | M10L | Main | ✔ | 2100 | Coffee Grinder | 300 | Water Boiler Kettle (electric) | 1800
F | First floor | Ki | Kitchen | O01 | F-Ki-O01 | Outlet left | M10L | Main | ✔ | 0
F | First floor | Ki | Kitchen | MW | F-Ki-MW | Microwave | M19L | Main | ✔ | 0
F | First floor | Ki | Kitchen | L08 | F-Ki-L08 | Lights under round top | U12T | Utility Subpanel | ✔ | 30 | LED Lamp | 30
F | First floor | Ki | Kitchen | L07 | F-Ki-L07 | Lights under cabinet | M17 | Main | ✔ | 30 | LED Lamp | 30
F | First floor | Ki | Kitchen | L06 | F-Ki-L06 | Lights pantry | M9L | Main | ✔ | 60 | LED Lamp | 30 | LED Lamp | 30
F | First floor | Ki | Kitchen | L05 | F-Ki-L05 | Lights over stove | M17 | Main | ✔ | 30 | LED Lamp | 30
F | First floor | Ki | Kitchen | L04 | F-Ki-L04 | Lights above pantry | M9L | Main | ✔ | 30 | LED Lamp | 30
F | First floor | Ki | Kitchen | LS03 | F-Ki-LS03 | 3W Light Switch (w/T-BR-LS01) - in stairwell up | M14R | Main | ✔ | 0 | Light Switch | 0
F | First floor | Ki | Kitchen | L03 | F-Ki-L03 | Lights in stairwell up | M14R | Main | ✔ | 30 | LED Lamp | 30
F | First floor | Ki | Kitchen | L02 | F-Ki-L02 | Lights over diner | M17 | Main | ✔ | 30 | LED Lamp | 30
F | First floor | Ki | Kitchen | L01 | F-Ki-L01 | Lights over island | M20 | Main | ✔ | 180 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30
F | First floor | Ki | Kitchen | DW | F-Ki-DW | Dishwasher | M15L | Main | ✔ | 1200 | Dishwasher | 1200
F | First floor | H | #N/A | O04 | F-H-O04 | Outlet stairwell right back | M11L | Main | ✔ | 0
F | First floor | H | #N/A | O03 | F-H-O03 | Outlet stairwell right front | M11L | Main | ✔ | 0
F | First floor | H | #N/A | O02 | F-H-O02 | Outlet stairwell front | M11L | Main | ✔ | 0
F | First floor | H | #N/A | O01 | F-H-O01 | Outlet left front | M17 | Main | ✔ | 0
F | First floor | H | #N/A | L05 | F-H-L05 | Men lighting | M17 | Main | ✔ | 180 | Halogen Light | 60 | Halogen Light | 60 | Halogen Light | 60
F | First floor | H | #N/A | L04 | F-H-L04 | Hall lighting | M17 | Main | ✔ | 180 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30
F | First floor | GB | Guest Bathroom | O02 | F-GB-O02 | Outlet under vanity (toilet) | M17 | Main | ✔ | 1000 | Toto Toilet Seat | 1000
F | First floor | GB | Guest Bathroom | O01 | F-GB-O01 | Outlet on vanity | M17 | Main | ✔ | 0
F | First floor | GB | Guest Bathroom | L01 | F-GB-L01 | Light over mirror | M17 | Main | ✔ | 180 | Incand Lamp 60 | 60 | Incand Lamp 60 | 60 | Incand Lamp 60 | 60
F | First floor | Ga | Garage | O02 | F-Ga-O02 | Outlet ceiling | M20 | Main | ✔ | 600 | Garage Door Opener | 300 | Garage Door Opener | 300
F | First floor | Ga | Garage | O01 | F-Ga-O01 | Outlet left | M20 | Main | ✔ | 0
F | First floor | Ga | Garage | L01 | F-Ga-L01 | Lights led bar | M20 | Main | ✔ | 60 | LED Lamp | 30 | LED Lamp | 30
F | First floor | Ga | Garage | O02 | F-Ga-O02 | Outlet Broom Closet | M20 | Main | ✔ | 30 | LED Lamp | 30
F | First floor | Ga | Garage | O03 | F-Ga-O03 | Outlet Right Front | M20 | Main | ✔ | 0
F | First floor | Ga | Garage | O04 | F-Ga-O04 | Outlet Right Rear | M20 | Main | ✔ | 0
F | First floor | D | #N/A | O03 | F-D-O03 | Outlet rightmost | M10L | Main | ✔ | 0
F | First floor | D | #N/A | O02 | F-D-O02 | Outlet Chances door | M17 | Main | ✔ | 0
F | First floor | D | #N/A | O01 | F-D-O01 | Outlet leftmost | M17 | Main | ✔ | 0
F | First floor | D | #N/A | L03 | F-D-L03 | Light rightmost | M17 | Main | ✔ | 30 | LED Lamp | 30
F | First floor | D | #N/A | L02 | F-D-L02 | Light Chances door | M17 | Main | ✔ | 30 | LED Lamp | 30
F | First floor | D | #N/A | L01 | F-D-L01 | Light leftmost | M17 | Main | ✔ | 30 | LED Lamp | 30
B | Basement | UR | Utility Room | O01 | B-UR-O01 | Outlet front | U6B | Utility Subpanel | ✔ | 0
B | Basement | UR | Utility Room | L01 | B-UR-L01 | Light ceiling | M17 | Main | ✔ | 120 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30
B | Basement | UR | Utility Room | HP02 | B-UR-HP02 | First Floor Heat Pump |  |  | ✔ | 3600 | Heat Pump First Floor | 3600
B | Basement | UC | Utility closet | O02 | B-UC-O02 | Outlet right | U10T | Utility Subpanel | ✔ | 0
B | Basement | UC | Utility closet | O01 | B-UC-O01 | Outlet right front - network & men | M17 | Main | ✔ | 0
B | Basement | UC | Utility closet | O01 | B-UC-O01 | Outlet left | U10T | Utility Subpanel | ✔ | 0
B | Basement | UC | Utility closet | L01 | B-UC-L01 | Light ceiling | U10T | Utility Subpanel | ✔ | 60 | LED Lamp | 30 | LED Lamp | 30
B | Basement | UC | Utility closet | HP01 | B-UC-HP01 | Basement Heat pump |  |  | ✔ | 3600 | Heat Pump Basement | 3600
B | Basement | UR | Utility Room | WH | B-UR-WH | Water heater | ? | ? |  | #N/A | Gas Water Heater | #N/A
B | Basement | UR | Utility Room | O02 | B-UR-O02 | Outlet right | U10B | Utility Subpanel | ✔ | 0
B | Basement | UR | Utility Room | O01 | B-UR-O01 | Outlet left | U10B | Utility Subpanel | ✔ | 0
B | Basement | UR | Utility Room | L01 | B-UR-L01 | Ceiling light | M15L | Main | Check again | 60 | LED Lamp | 30 | LED Lamp | 30
B | Basement | UR | Utility Room | Fu | B-UR-Fu | Furnace first floor | ? | ? |  | #N/A | Gas Furnance | #N/A
B | Basement | S | #N/A | O10 | B-S-O10 | Outlet right front | U10T | Utility Subpanel | ✔ | 1800 | Mitre Saw Dewalt DWS716XPS | 1800
B | Basement | S | #N/A | O09 | B-S-O09 | Outlet front | U10T | Utility Subpanel | ✔ | 0
B | Basement | S | #N/A | O08 | B-S-O08 | Outlet left | M17 | Main | ✔ | 0
B | Basement | S | #N/A | O07 | B-S-O07 | Outlet left | M17 | Main | ✔ | 0
B | Basement | S | #N/A | O06 | B-S-O06 | Outlet left | M17 | Main | ✔ | 0
B | Basement | S | #N/A | O05 | B-S-O05 | Outlet left back | M17 | Main | ✔ | 80 | Ceiling Fan | 80
B | Basement | S | #N/A | O03 | B-S-O03 | Outlet back | M17 | Main | ✔ | 0
B | Basement | S | #N/A | O02 | B-S-O02 | Outlet right back | U12B | Utility Subpanel | ✔ | 200 | Stereo | 200
B | Basement | S | #N/A | O01 | B-S-O01 | Outlet right near ls | U12B | Utility Subpanel | ✔ | 0
B | Basement | S | #N/A | L01 | B-S-L01 | Lights ceiling | U12B | Utility Subpanel | ✔ | 1750 | LED Light Panels 35K | 250 | LED Light Panels 35K | 250 | LED Light Panels 35K | 250 | LED Light Panels 35K | 250 | LED Light Panels 35K | 250 | LED Light Panels 35K | 250 | LED Light Panels 35K | 250
B | Basement | Pa | Patio | O02 | B-Pa-O02 | Outlet left bottom (shop) | M17 | Main | ✔ | 0
B | Basement | Pa | Patio | O02 | B-Pa-O02 | Outlet right (abuelitas) | M17 | Main | ✔ | 0
B | Basement | Pa | Patio | O01 | B-Pa-O01 | Outlet left top (shop) | M17 | Main | ✔ | 0
B | Basement | Pa | Patio | L03 | B-Pa-L03 | Light right (utility) | M17 | Main | ✔ | 30 | LED Lamp | 30
B | Basement | Pa | Patio | L02 | B-Pa-L02 | Light middle (abuelitas) | U8B | Utility Subpanel | ✔ | 30 | LED Lamp | 30
B | Basement | Pa | Patio | L01 | B-Pa-L01 | Light left (shop) | M17 | Main | ✔ | 30 | LED Lamp | 30
B | Basement | Ab | Abuelita's bedroom | ST | B-Ab-ST | Stovetop | U2+4 | Utility Subpanel | ✔ | 4800 | Oven | 4800
B | Basement | Ab | Abuelita's bedroom | O12 | B-Ab-O12 | Outlet left back | U8B | Utility Subpanel | ✔ | 0
B | Basement | Ab | Abuelita's bedroom | O11 | B-Ab-O11 | Outlet back right | U8T | Utility Subpanel | ✔ | 0
B | Basement | Ab | Abuelita's bedroom | O10 | B-Ab-O10 | Outlet right btwn fridge & stove | U6T | Utility Subpanel | ✔ | 0
B | Basement | Ab | Abuelita's bedroom | O09 | B-Ab-O09 | Outlet for fridge | U10B | Utility Subpanel | ✔ | 0
B | Basement | Ab | Abuelita's bedroom | O08 | B-Ab-O08 | Outlet TV right front | U10T | Utility Subpanel | ✔ | 57 | LED TV 42" | 57
B | Basement | Ab | Abuelita's bedroom | O07 | B-Ab-O07 | Outlet TV right back | U10T | Utility Subpanel | ✔ | 120 | Computer Small | 120
B | Basement | Ab | Abuelita's bedroom | O06 | B-Ab-O06 | Outlet right front | U10T | Utility Subpanel | ✔ | 30 | LED Lamp | 30
B | Basement | Ab | Abuelita's bedroom | O05 | B-Ab-O05 | Outloot front middle | U10T | Utility Subpanel | ✔ | 30 | LED Lamp | 30
B | Basement | Ab | Abuelita's bedroom | O04 | B-Ab-O04 | Outlet left front | U10T | Utility Subpanel | ✔ | 30 | LED Lamp | 30
B | Basement | Ab | Abuelita's bedroom | O03 | B-Ab-O03 | Outlet by UC door | U10T | Utility Subpanel | ✔ | 0
B | Basement | Ab | Abuelita's bedroom | O02 | B-Ab-O02 | Outlet left stairs | U10T | Utility Subpanel | ✔ | 0
B | Basement | Ab | Abuelita's bedroom | O01 | B-Ab-O01 | Outlet room entrance | U12B | Utility Subpanel | ✔ | 0
B | Basement | Ab | Abuelita's bedroom | MW | B-Ab-MW | Microwave | U6T | Utility Subpanel | ✔ | 1500 | Microwave | 1500
B | Basement | Ab | Abuelita's bedroom | L02 | B-Ab-L02 | light kitchen | U12T | Utility Subpanel | ✔ | 120 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30
B | Basement | Ab | Abuelita's bedroom | L01 | B-Ab-L01 | Light ceiling | U10T | Utility Subpanel | ✔ | 180 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30
B | Basement | Ab | Abuelita's bedroom | F01 | B-Ab-F01 | Fan ceiling | M15L | Main | ✔ | 70 | Bathroom Light/Fan | 70
B | Basement | Ab | Abuelita's bedroom | B-O01 | B-Ab-B-O01 | Outlet on bathroom vanity | U12B | Utility Subpanel | ✔ | 0
B | Basement | Ab | Abuelita's bedroom | B-LF01 | B-Ab-B-LF01 | Light/fan bathroom | U12B | Utility Subpanel | ✔ | 70 | Bathroom Light/Fan | 70
B | Basement | Ab | Abuelita's bedroom | B-L01 | B-Ab-B-L01 | Light over bathroom mirror | U12B | Utility Subpanel | ✔ | 90 | LED Lamp | 30 | LED Lamp | 30 | LED Lamp | 30
B | Basement | A | #N/A | O02 | B-A-O02 | Outlet back (by heat pump) | U6B | Utility Subpanel | ✔ | 0
B | Basement | A | #N/A | O01 | B-A-O01 | Outlet for transformer & network | M17 | Main | ✔ | 0
A | Attic | At | Attic | O01 | A-At-O01 | Outlet for Attic Lights | M14R | Main | ✔ | 400 | LED Super Bright Light | 200 | LED Super Bright Light | 200
A | Attic | At | Attic | L01 | A-At-L01 | Light switch for Attic Lights | M14R | Main | ✔ | 0
A | Attic | At | Attic | HP03 | A-At-HP03 | Attic Heatpump (part of HP01) |  |  | ✔ | 0
T | Top floor | BR | Bonus Room | L03 | T-BR-L03 | NE Corner Outdoor light
F | First floor | Ga | Garage | L04 | F-Ga-L04 | Outdoor Garage Light

## Device Wattages
Device | Volts | Amps | Phase | Power | HP | Description
AC Unit 1st/2nd floor | 240
AC Unit basement
AC Unit mini-split
Band Saw - Harvey HW615P | 240 | 16 | Single | 3840 | 3
Bathroom Light/Fan | 120 |  | Single | 70
Ceiling Fan | 120 | 2 | Single | 80 |  | For typical DC Ceiling Fan with 1800 Lumen LED light
Clothes Dryer | 240 | 30 |  | 7200
Coffee Grinder | 120 | 2.5 |  | 300
Computer Large | 120 | 2 | Single | 240
Computer Small | 120 | 1 | Single | 120
Dishwasher | 120 | 10 | Single | 1200
Drill Press | 120 | 8 | Single | 960
Dust Collection Jet DC650 | 120 | 7 | Single | 840 | 1
Festool Track Saw | 120 | 10 | Single | 1200
Fridge Large | 120 | 8 |  | 960
Fridge Small | 120 | 7 |  | 840
Garage Door Opener | 120 | 2.5 | Single | 300
Gas Furnace | 120 | 15 |  | 1800
Gas Water Heater | 120 | 20 |  | 2400
Halogen Light |  |  |  | 60
Heat Pump Basement | 240 | 15 |  | 3600
Heat Pump First Floor | 240 | 15 |  | 3600 |  | TODO: Look up power
Heat Pump Attic | 240 | 15 |  | 3600 |  | TODO: Look up power
Heat Pump Mini Split | 240 | 15 |  | 3600 |  | TODO: Look up power
Hot Tub - Blower | 120 | 9.5 | Single | 1140 | 1.5
Hot Tub - Heater | 120 | 12 | Single | 1440
Incand Lamp 60 | 120 |  | Single | 60
Ipad |  |  |  | 20
LED Grid | 120 |  | Single | 400
LED Lamp | 120 |  | Single | 30
LED Light Panels 35K | 120 |  | Single | 250
LED Super Bright Light | 120 |  | Single | 200 |  | TODO - Look these lamps power up. Current value is a guess
LED Track Dinning | 120 |  | Single | 60
LED Track Grid | 120 |  | Single | 180
LED TV 37" | 120 |  | Single | 44
LED TV 42" | 120 |  | Single | 57
LED TV 60" | 120 |  | Single | 88
Light Switch | 120 | 0 | Single | 0 |  | Light switch carrys nearly no load
Mac Mini | 120 |  | Single | 60
Microwave | 120 |  | Single | 1500
Mitre Saw Dewalt DWS716XPS | 120 | 15 | Single | 1800
Oven | 240 | 20 |  | 4800
Phone |  |  |  | 20
Router Bora PM-6200 | 120 | 15 | Single | 1800 | 3.25
Stereo | 120 |  | Single | 200
Stovetop (conductive) | 120 |  | Single | 5000
Stovetop (inductive) | 120 |  | Single | 5000
Table Saw - SawStop PCS175 120 | 120 | 14 | Single | 1680 | 1.75
Table Saw - SawStop PCS175 240 | 240 | 7 | Single | 1680 | 1.75
Thickness Planer Dewalt | 120 | 15 | Single | 1800 | 2.2
Toaster Oven | 120 | 12.5 | Single | 1500
Toto Toilet Seat | 120 |  | Single | 1000
Washing Machine | 120 | 10 | Single | 1200 |  | Kenmore Elite Mod 110.24962301; SER CR4412188; Type: 111 https://lis-content.prod.nextgen.shs.com/lis_pdf/OWNM/L0401318.pdf
Water Boiler Kettle (electric) | 120 | 15 | Single | 1800

## Breakers
Breaker Box | Breaker Name | Breaker Box Name | Breaker | Amps | Power Total | Device list
? | ? | ? | ? | 0 | 0 | T-BR-F01, B-UR-WH, B-UR-Fu
M | M1+3 | Main | 1+3 | 0 |  | #N/A
M | M10L | Main | 10L | 15 |  | F-Ki-O03, F-Ki-O02, F-Ki-O01, F-D-O03
M | M10R | Main | 10R | 15 |  | #N/A
M | M11L | Main | 11L | 15 |  | F-H-O04, F-H-O03, F-H-O02
M | M11R | Main | 11R | 15 |  | T-BR-O07, T-BR-O06, T-BR-O05, T-BR-O04, T-BR-O03, T-BR-O02, T-BR-L01, T-BR-O01
M | M12L | Main | 12L | 15 |  | T-La-O02
M | M12R | Main | 12R | 15 |  | #N/A
M | M13L | Main | 13L | 15 |  | F-Ki-O11, F-Ki-O10, F-Ki-O09
M | M13R | Main | 13R | 15 |  | F-PR-O03, F-PR-O02, F-PR-O01
M | M14L | Main | 14L | 15 |  | T-Ha-O01, T-Ha-L01, T-Mx-O05, T-Mx-O04, T-Mx-O03, T-Mx-O02, T-Mx-O01, T-Mx-L01, T-Th-L01
M | M14R | Main | 14R | 15 |  | T-BR-CF01, T-BR-LS01, T-BR-LS02, T-BR-L01, T-La-L01, T-Th-O05, T-Th-O04, T-Th-O03, T-Th-O02, T-Th-O01, F-Ki-LS03, F-Ki-L03
M | M15L | Main | 15L | 15 |  | F-Ki-DW, B-UR-L01, B-Ab-F01
M | M15R | Main | 15R | 15 |  | #N/A
M | M16L | Main | 16L | 15 |  | #N/A
M | M16R | Main | 16R | 15 |  | #N/A
M | M17L | Main | 17L | 15 |  | #N/A
M | M17R | Main | 17R | 15 |  | #N/A
M | M18L | Main | 18L | 15 |  | #N/A
M | M18R | Main | 18R | 15 |  | #N/A
M | M19L | Main | 19L | 15 |  | F-Ki-MW
M | M19R | Main | 19R | 15 |  | T-Ba-O01, T-Ba-L01, T-GB-O02, T-GB-O01, T-GB-L10, T-Ha-L02, T-Ma-O07, T-Ma-O06, T-Ma-O05, T-Ma-O04, T-Ma-O03, T-Ma-O02, T-Ma-O01, T-Ma-L03, T-Ma-L02, T-Ma-L01, T-Ma-F01, T-MB-LF01, T-MB-L02, T-MB-L02, T-MB-L01, T-Wi-O06, T-Wi-O05, T-Wi-O04, T-Wi-O03, T-Wi-O02, T-Wi-O01, T-Wi-L02, T-Wi-L01
M | M2+4 | Main | 2+4 | 100 |  | F-Ki-ST, F-Ki-OV
M | M20L | Main | 20L | 20 |  | #N/A
M | M20R | Main | 20R | 20 |  | #N/A
M | M5+7 | Main | 5+7 | 0 |  | T-La-O01
M | M6+8 | Main | 6+8 | 0 |  | #N/A
M | M9L | Main | 9L | 15 |  | F-Ki-O07, F-Ki-L06, F-Ki-L04
M | M9R | Main | 9R | 15 |  | #N/A
U | U1+3 | Utility Subpanel | 1+3 | 30 |  | #N/A
U | U10B | Utility Subpanel | 10B | 15 |  | B-UR-O02, B-UR-O01, B-Ab-O09
U | U10T | Utility Subpanel | 10T | 15 |  | B-UC-O02, B-UC-O01, B-UC-L01, B-S-O10, B-S-O09, B-Ab-O08, B-Ab-O07, B-Ab-O06, B-Ab-O05, B-Ab-O04, B-Ab-O03, B-Ab-O02, B-Ab-L01
U | U11B | Utility Subpanel | 11B | 15 |  | #N/A
U | U11T | Utility Subpanel | 11T | 15 |  | #N/A
U | U12B | Utility Subpanel | 12B | 15 |  | T-MB-O03, T-MB-O02, T-MB-O01, B-S-O02, B-S-O01, B-S-L01, B-Ab-O01, B-Ab-B-O01, B-Ab-B-LF01, B-Ab-B-L01
U | U12T | Utility Subpanel | 12T | 15 |  | F-Ki-O06, F-Ki-O05, F-Ki-O04, F-Ki-L08, B-Ab-L02
U | U2+4 | Utility Subpanel | 2+4 | 30 |  | B-Ab-ST
U | U5 | Utility Subpanel | 5 | 15 |  | #N/A
U | U6B | Utility Subpanel | 6B | 15 |  | B-UR-O01, B-A-O02
U | U6T | Utility Subpanel | 6T | 15 |  | B-Ab-O10, B-Ab-MW
U | U7 | Utility Subpanel | 7 | 15 |  | #N/A
U | U8B | Utility Subpanel | 8B | 15 |  | B-Pa-L02, B-Ab-O12
U | U8T | Utility Subpanel | 8T | 15 |  | B-Ab-O11
U | U9+11 | Utility Subpanel | 9+11 | 60 |  | #N/A

## Rooms
Room | Room Name | Floor | Floor Name
Ab | Abuelita's bedroom | B | Basement
At | Attic | A | Attic
Ax | Auxillary | B | Basement
B | Abuelita's Bathroom | B | Basement
Ba | Balcony | T | Top floor
BB | Bonus Bathroom | T | Top floor
BR | Bonus Room | T | Top floor
Dk | Deck | F | First floor
Ga | Garage | F | First floor
GB | Guest Bathroom | T | Top floor
Ha | Hallway | T | Top floor
Ki | Kitchen | F | First floor
La | Laundry | T | Top floor
LR | Living Room | F | First floor
Ma | Master Bedroom | T | Top floor
MB | Master Bathroom | T | Top floor
Mx | Max's bedroom | T | Top floor
OB | Out Back | G | Ground/Outside
OF | Out Front | G | Ground/Outside
Pa | Patio | B | Basement
Po | Porch | G | Ground/Outside
PR | Piano room | F | First floor
SF | Stairs to first | B | Basement
Sh | Shop | B | Basement
ST | Stairs to top | F | First floor
Th | Thurston's bedroom | T | Top floor
UC | Utility closet | B | Basement
UR | Utility Room | B | Basement
Ve | Vestibule | B | Basement
Wi | William's bedroom | T | Top floor

## Floors
Floor | Floor name | Level
A | Attic | 4
B | Basement | 1
F | First floor | 2
G | Ground/Outside | 0
T | Top floor | 3

## Breaker boxes
Breaker Box | Breaker Box Name | Panel Image
? | ?
M | Main
U | Utility Subpanel